## FlameGuard Order Form
__________________________________
__________________________________
__________________________________
PO# |  |  |  |  | Contact :
Company: |  |  |  |  | Phone:
Ship To:
City: |  |  |  | State: |  | Zip:
See FlameGuard® section in Spears® Catalog SPS-1, SES-4, or On-line Catalog at www.spearsmfg.com for additional Product Information
FlameGuard® CPVC Fire Sprinkler Pipe - SDR 13.5 - 10' Lengths NSF Certified Lead-Free |  |  |  | Sprinkler Head Tee (Socket x Socket x Brass FIPT)
|  |  |  | Size | Part # | Box Qty. | Quantity
Size | Part # | Box Qty (ft) | Quantity | 3/4" x 1/2" | 4202-101 | 50
3/4" | CP-007-10 | 260 |  | 1" x 3/4" x 1/2" | 4202-124 | 50
1" | CP-010-10 | 170 |  | 1" x 1/2" | 4202-130 | 50
1-1/4" | CP-012-10 | 90 |  | 1" | 4202-010 | 10
1-1/2" | CP-015-10 | 70 |  | 1-1/4" x 1" x 1/2" | 4202-156 | 15
2" | CP-020-10 | 50 |  | 1-1/4" x 1/2" | 4202-166 | 15
2-1/2" | CP-025-10 | 40 |  | 1-1/2" x 1-1/4" x1/2" | 4202-199 | 10
3" | CP-030-10 | 30 |  | 1-1/2 "x 1/2" | 4202-209 | 10
FlameGuard® CPVC Fire Sprinkler Pipe - SDR 13.5 - 15' Lengths |  |  |  | 2" x 1-1/2" x 1/2" | 4202-237 | 10
Size | Part # | Box Qty (ft) | Quantity | 2"x 1/2" | 4202-247 | 10
3/4" | CP-007 | 390 |  | Not intended to convey or dispense water for human consumption through drinking or cooking
1" | CP-010 | 255 |  | Sprinkler Head Tee-Special Reinforced (Socket x Socket x SRFIPT) NSF Certified Lead-Free
1-1/4" | CP-012 | 135
1-1/2" | CP-015 | 105 |  | Size | Part # | Box Qty. | Quantity
2" | CP-020 | 75 |  | 1" | 4202-010SR | 15
2-1/2" | CP-025 | 60 |  | 3/4" x 1/2" | 4202-101SR | 50
3" | CP-030 | 45 |  | 1" x 3/4" x 1/2" | 4202-124SR | 50
Tee (Socket) NSF Certified Lead-Free |  |  |  | 1" x 1/2" | 4202-130SR | 50
Size | Part # | Box Qty. | Quantity | 1" x 3/4" x 1/2" | 4202-131SR | 15
3/4" | 4201-007 | 20 |  | 1-1/4" x 1" x 1/2" | 4202-156SR | 15
1" | 4201-010 | 15 |  | 1-1/4" x 1-1/4" x1/2" | 4202-166SR | 15
1-1/4" | 4201-012 | 10 |  | 1-1/4" x 1" | 4202-168SR | 15
1-1/2" | 4201-015 | 10 |  | 1-1/2" x 1-1/4" x1/2" | 4202-199SR | 10
2" | 4201-020 | 10 |  | 1-1/2" x 1/2" | 4202-209SR | 25
2-1/2" | 4201-025 | 10 |  | 1-1/2" x 1-1/2" x 1" | 4202-211SR | 10
3" | 4201-030 | 5 |  | 2" x 1-1/2" x 1/2" | 4202-237SR | 10
Reducing Tee (Socket) NSF Certified Lead-Free |  |  |  | 2" x 1/2" | 4202-247SR | 10
Size | Part # | Box Qty. | Quantity | 2-1/2" x 1/2" | 4202-287SR | 10
3/4" x 1" | 4201-102 | 20 |  | SofTorque™ Gasket SR Sprinkler Head Tee (Socket x Socket x SR FIPT) NSF Certified Lead-Free
1" x 3/4" x 3/4" | 4201-125 | 15
1"x3/4"x1" | 4201-126 | 15 |  | Size | Part # | Box Qty. | Quantity
1"x3/4" | 4201-131 | 20 |  | 3/4" x 1/2" | 4202-101GSR | 50
1-1/4"x1"x3/4" | 4201-157 | 15 |  | 1" x 3/4" x 1/2" | 4202-124GSR | 50
1-1/4" x 1" x 1" | 4201-158 | 15 |  | 1" x 1/2" | 4202-130GSR | 50
1-1/4" x 1" x 1-1/4" | 4201-159 | 15 |  | SR FIPT With Elastomer Seal - Use NO Thread Sealant
1-1/4" x 3/4" | 4201-167 | 15 |  | TorqueSafe™ Gasket Sealed Sprinkler Head Tee (Socket x Socket x Gasket FIPT)
1-1/4" x 1" | 4201-168 | 15
1-1/4" x 1-1/2" | 4201-169 | 10 |  | Size | Part # | Box Qty. | Quantity
1-1/2" x 1-1/4" x3/4" | 4201-201 | 10 |  | 3/4" x 1/2" | 4202-101 G | 50
1-1/2" x 1-1/4 "x 1" | 4201-202 | 10 |  | 1" x 3/4" x 1/2" | 4202-124 G | 50
1-1/2" x 3/4" | 4201-210 | 15 |  | 1" x 1/2" | 4202-130 G | 50
1-1/2" x 1" | 4201-211 | 10 |  | 1" x 3/4" | 4202-131 G | 50
1-1/2" x 1-1/4" | 4201-212 | 10 |  | 1-1/4" x 1/2" | 4202-166 G | 15
1-1/2 "x 2" | 4201-213 | 10 |  | 1-1/2" x 1/2" | 4202-209 G | 10
2" x 3/4" | 4201-248 | 10 |  | 2" x 1/2" | 4202-247 G | 10
2" x 1" | 4201-249 | 10 |  | FIPT With Elastomer Seal - Use NO Thread Sealant
2" x 1-1/4" | 4201-250 | 10 |  | Not intended to convey or dispense water for human consumption through drinking or cooking
2" x 1-1/2" | 4201-251 | 10 |  | Sprinkler Head Tee (Socket x Brass FIPT x Socket)
2-1/2" x 1" | 4201-289 | 10 |  | Size | Part # | Box Qty. | Quantity
2-1/2" x 1-1/4" | 4201-290 | 10 |  | 1"x1/2"x1" | 4203-122 | 50
2-1/2"x 1-1/2" | 4201-291 | 10 |  | SofTorque™ Gasket SR Sprinkler Head Tee (Socket x SR FIPT x Socket) NSF Certified Lead-Free
2-1/2" x 2" | 4201-292 | 10
3" x 1" | 4201-335 | 5 |  | Size | Part # | Box Qty. | Quantity
3" x 1-1/4" | 4201-3361 | 5 |  | 1" x 1/2" x 1" | 4203-122GSR | 50
3" x 1-1/2" | 4201-337 | 5 |  | SR FIPT With Elastomer Seal - Use NO Thread Sealant
3" x 2" | 4201-338 | 5 |  | TorqueSafe™ Gasket Sealed Sprinkler Head Tee (Socket x Gasket FIPT x Socket )
3" x 2-1/2" | 4201-339 | 5
1 Outlet sized with Bushing |  |  |  | Size | Part # | Box Qty. | Quantity
GripLoc™Tee (Socket) NSF Certified Lead-Free |  |  |  | 1" x 1/2" x 1" | 4203-122 G | 50
Size | Part # | Box Qty. | Quantity | FIPT With Elastomer Seal - Use NO Thread Sealant
3/4" | GL4201-007 | 15 |  | Not intended to convey or dispense water for human consumption through drinking or cooking
1" | GL4201-010 | 15 |  | Sprinkler Head Tee-Special Reinforced (Socket x SRFIPT x Socket) NSF Certified Lead-Free
Use NO Solvent Cement
Socket x GripLoc™Tee (Socket) NSF Certified Lead-Free |  |  |  | Size | Part # | Box Qty. | Quantity
Size | Part # | Box Qty. | Quantity | 1" x 1/2" x 1" | 4203-122SR | 50
1" | GLS4201-010 | 15 |  | Street Tee (Spigot x Socket x Socket) NSF Certified Lead-Free
Use NO Solvent Cement on GripLOc™ Connection |  |  |  | Size | Part # | Box Qty. | Quantity
Not intended to convey or dispense water for human consumption through drinking or cooking |  |  |  | 3/4" | 4244-007 | 15
|  |  |  | 1" | 4244-010 | 15
|  |  |  | 1-1/4" | 4244-012 | 10
|  |  |  | 1-1/2" | 4244-015 | 10
|  |  |  | 2" | 4244-020 | 10
90º Elbow (Socket) NSF Certified Lead-Free |  |  |  | 45º Street Elbow (Spigot x Socket) NSF Certified Lead-Free
Size | Part # | Box Qty. | Quantity | Size | Part # | Box Qty. | Quantity
3/4" | 4206-007 | 30 |  | 1" | 4227-010 | 50
1" | 4206-010 | 20 |  | 1-1/4" | 4227-012 | 25
1-1/4" | 4206-012 | 10 |  | 1-1/2" | 4227-015 | 25
1-1/2" | 4206-015 | 10 |  | 2" | 4227-020 | 20
2" | 4206-020 | 25 |  | Cross (Socket) NSF Certified Lead-Free
2-1/2" | 4206-025 | 5 |  | Size | Part # | Box Qty. | Quantity
3" | 4206-030 | 5 |  | 3/4" | 4220-007 | 20
90º Sweep Elbow (Socket) |  |  |  | 1" | 4220-010 | 15
Size | Part # | Box Qty. | Quantity | 1-1/4" | 4220-012 | 10
3/4" | 4206-007S | 25 |  | 1-1/2" | 4220-015 | 10
1" | 4206-010S | 30 |  | 2" | 4220-020 | 8
1-1/4" | 4206-012S | 25 |  | 2-1/2" | 4220-025 | 5
1-1/2" | 4206-015S | 20 |  | 3" | 4220-030 | 5
2" | 4206-020S | 25 |  | Reducing Cross (Socket) NSF Certified Lead-Free
2-1/2" | 4206-025S | 10 |  | Size | Part # | Box Qty. | Quantity
3" | 4206-030S | 10 |  | 1" x 3/4" | 4220-131 | 20
GripLoc™ 90º Elbow NSF Certified Lead-Free |  |  |  | 1-1/4" x 3/4" | 4220-167 | 25
Size | Part # | Box Qty. | Quantity | 2" x 3/4" | 4220-210 | 15
3/4" | GL4206-007 | 20 |  | 1-1/2" x 3/4" | 4220-248 | 10
1" | GL4206-010 | 20 |  | 2-1/2" x 1" | 4220-289 | 15
Use NO Solvent Cement |  |  |  | Coupling (Socket) NSF Certified Lead-Free
90º Reducing Elbow (Socket) NSF Certified Lead-Free |  |  |  | Size | Part # | Box Qty. | Quantity
Size | Part # | Box Qty. | Quantity | 3/4" | 4229-007 | 25
1"x3/4" | 4206-131 | 20 |  | 1" | 4229-010 | 25
1-1/4" x 1" | 4206-168 | 15 |  | 1-1/4" | 4229-012 | 10
Sprinkler Head 90º Elbow (Socket x Brass FIPT) |  |  |  | 1-1/2" | 4229-015 | 10
Size | Part # | Box Qty. | Quantity | 2" | 4229-020 | 20
3/4" x 1/2" | 4207-101 | 20 |  | 2-1/2" | 4229-025 | 10
1" x 1/2" | 4207-130 | 15 |  | 3" | 4229-030 | 5
1" x 3/4" | 4207-131 | 25 |  | Reducer Coupling (Socket) NSF Certified Lead-Free
1-1/4" x 1/2" | 4207-166 | 10 |  | Size | Part # | Box Qty. | Quantity
Not intended to convey or dispense water for human consumption through drinking or cooking |  |  |  | 1" x 3/4" | 4229-131 | 15
Sprinkler Head 90° Elbow (Socket x SR FIPT) NSF Certified Lead-Free |  |  |  | 1-1/4" x 3/4" | 4229-167 | 25
Size | Part # | Box Qty. | Quantity | 1-1/4" x 1" | 4229-168 | 10
3/4" x 1/2" | 4207-101SR | 20 |  | 1-1/2" x 3/4" | 4229-210 | 25
1" x 1/2" | 4207-130SR | 10 |  | 1-1/2" x 1" | 4229-211 | 10
1" x 3/4" | 4207-131SR | 50 |  | 1-1/2" x 1-1/4" | 4229-212 | 10
1-1/4" x 1/2" | 4207-166SR | 25 |  | 2" x 3/4" | 4229-248 | 10
SofTorque™ Gasket Sealed SR Sprinkler Head Elbow (Socket x SR FIPT) NSF Certified Lead Free - Use No Thread Sealant |  |  |  | 2" x 1" | 4229-249 | 10
|  |  |  | 2" x 1-1/4" | 4229-250 | 10
Size | Part # | Box Qty. | Quantity | 2" x 1-1/2" | 4229-251 | 10
3/4" x 1/2" | 4207-101GSR | 20 |  | 2-1/2" x 1-1/2" | 4229-291 | 10
1" x 1/2" | 4207-130GSR | 20 |  | 2-1/2" x 2" | 4229-292 | 10
1-1/4" x 1/2" | 4207-166GSR | 25 |  | 3" x 1-1/2" | 4229-337 | 5
TorqueSafe™ Gasket Sealed Sprinkler Head Elbow (Socket x Gasket FIPT) |  |  |  | 3" x 2-1/2" | 4229-339 | 10
GripLoc™ Coupling - NSF Certified Lead-Free
Size | Part # | Box Qty. | Quantity | Size | Part # | Box Qty. | Quantity
3/4" x 1/2" | 4207-101 G | 20 |  | 3/4" | GL4229-007 | 36
1" x 1/2" | 4207-130 G | 15 |  | 1" | GL4229-010 | 20
1-1/4" x 1/2" | 4207-166 G | 10 |  | 2" | GL4229-020 | 10
FIPT With Elastomer Seal - Use NO Thread Sealant |  |  |  | Use NO Solvent Cement
Not intended to convey or dispense water for human consumption through drinking or cooking |  |  |  | Grooved Coupling Adapter (Brass Groove x Socket)
90º Street Elbow (Spigot x Socket) NSF Certified Lead-Free |  |  |  | Size | Part # | Box Qty. | Quantity
Size | Part # | Box Qty. | Quantity | 1-1/4" | 4233-012 | 10
3/4" | 4209-007 | 50 |  | 1-1/2" | 4233-015 | 10
1" | 4209-010 | 50 |  | 2" | 4233-020 | 8
1-1/4" | 4209-012 | 25 |  | 2-1/2" | 4233-025 | 5
1-1/2" | 4209-015 | 10 |  | 3" | 4233-030 | 5
2" | 4209-020 | 25 |  | Not intended to convey or dispense water for human consumption through drinking or cooking
Side Outlet Elbow (Socket) NSF Certified Lead-Free |  |  |  | QuickTorque™ Gasket Sealed SR Metal Thread Female Sprinkler Head Adapter (Socket x Gasket FIPT) NSF Certified Lead-Free
Size | Part # | Box Qty. | Quantity
3/4" | 4213-007 | 50 |  | Size | Part # | Box Qty. | Quantity
1" | 4213-010 | 25 |  | 3/4" x 1/2" | 4235-101GMR | 50
22-1/2° Elbow (Socket) NSF Certified Lead-Free |  |  |  | 1" x 1/2" | 4235-130GMR | 50
Size | Part # | Box Qty. | Quantity | SofTorque™ Gasket SR Female Sprinkler Head Adapter (Socket x FIPT) NSF Certified Lead-Free - Use NO Thread Sealant
3/4" | 4216-007 | 20
1" | 4216-010 | 20 |  | Size | Part # | Box Qty. | Quantity
1-1/4" | 4216-012 | 20 |  | 3/4" x 1/2" | 4235-101GSR | 50
1-1/2" | 4216-015 | 20 |  | 1" x 1/2" | 4235-130GSR | 50
2" | 4216-020 | 20 |  | FIPT With Elastomer Seal - Use NO Thread Sealant
2-1/2" | 4216-025 | 5 |  | TorqueSafe™ Gasket Sealed Female Sprinkler Head Adapter (Socket x Gasket SR FIPT)
3" | 4216-030 | 5
22-1/2° Elbow (Spigot x Socket) NSF Certified Lead-Free |  |  |  | Size | Part # | Box Qty. | Quantity
Size | Part # | Box Qty. | Quantity | 3/4" x 1/2" | 4235-101 G | 50
3/4" | 4242-007 | 50 |  | 1" x 1/2" | 4235-130GS | 50
1" | 4242-010 | 50 |  | 1" x 3/4" | 4235-131 G | 50
1-1/4" | 4242-012 | 20 |  | FIPT With Elastomer Seal - Use NO Thread Sealant
1-1/2" | 4242-015 | 25 |  | Not intended to convey or dispense water for human consumption through drinking or cooking
2" | 4242-020 | 20 |  | GripLoc™ TorqueSafe™ Female Sprinkler Head Adapter Gasket Sealed Brass Thd Insert (Socket x Gasket SR FIPT)
2-1/2" | 4242-025 | 5
3" | 4242-030 | 5 |  | Size | Part # | Box Qty. | Quantity
45º Elbow (Socket) NSF Certified Lead-Free |  |  |  | 3/4" x 1/2" | GL4235-101 G | 25
Size | Part # | Box Qty. | Quantity | 1" x 1/2" | GL4235-130 G | 24
1" | 4217-010 | 15 |  | FIPT With Elastomer Seal - Use NO Solvent Cement or Thread Sealant
1-1/4" | 4217-012 | 10 |  | Not intended to convey or dispense water for human consumption through drinking or cooking
1-1/2" | 4217-015 | 10
2" | 4217-020 | 10
2-1/2" | 4217-025 | 5
3" | 4217-030 | 5
Female Adapter (Socket x Brass FIPT) |  |  |  | Spigot Female Sprinkler Head Adapter (Spigot x SR FIPT) NSF Certified Lead-Free
Size | Part # | Box Qty. | Quantity
3/4" | 4235-007 | 15 |  | Size | Part # | Box Qty. | Quantity
1" | 4235-010 | 15 |  | 3/4" x 1/2" | 4238-101SR | 50
1-1/4" | 4235-012 | 15 |  | 1" x 1/2" | 4238-130SR | 50
1-1/2" | 4235-015 | 10 |  | Adjustable Sprinkler Head Adapter (Socket x SR FIPT) NSF Certified Lead-Free
2" | 4235-020 | 8
Not intended to convey or dispense water for human consumption through drinking or cooking |  |  |  | Size | Part # | Box Qty. | Quantity
Female Sprinkler Head Adapter (Socket x Brass FIPT) |  |  |  | 3/4" x 1/2" | 42001SR | 12
Size | Part # | Box Qty. | Quantity | 1" x 1/2" | 42011SR | 12
3/4" x 1/2" | 4235-101 | 50 |  | Adjustable Sprinkler Head Adapter (Spigot x SR FIPT) NSF Certified Lead-Free
1" x 1/2" | 4235-130 | 50
1" x 3/4" | 4235-131 | 50 |  | Size | Part # | Box Qty. | Quantity
Not intended to convey or dispense water for human consumption through drinking or cooking |  |  |  | 3/4" x 1/2" | 42004SR | 12
Female Sprinkler Head Adapter (Socket x SR FIPT) NSF Certified Lead-Free |  |  |  | 1" x 1/2" | 42014SR | 12
Size | Part # | Box Qty. | Quantity | Reducing Bushing (Spigot x Socket) NSF Certified Lead-Free
3/4" x 1/2" | 4235-101SR | 50 |  | Size | Part # | Box Qty. | Quantity
1" x 1/2" | 4235-130SR | 50 |  | 1" x 3/4" | 4237-131 | 50
1" x 3/4" | 4235-131SR | 50 |  | 1-1/4" x 3/4" | 4237-167 | 25
Female Sprinkler Head Adapter with Wrench Flats (Socket x SR FIPT) NSF Certified Lead-Free |  |  |  | 1-1/4" x 1" | 4237-168 | 25
|  |  |  | 1-1/2" x 3/4" | 4237-210 | 25
Size | Part # | Box Qty. | Quantity | 1-1/2" x 1" | 4237-211 | 25
3/4" x 1/2" | W4235-101SR | 50 |  | 1-1/2" x 1-1/4" | 4237-212 | 25
1" x 1/2" | W4235-130SR | 50 |  | 2" x 3/4" | 4237-248 | 10
Female Sprinkler Head Adapter - Long Body (Socket x Brass FIPT) |  |  |  | 2" x 1" | 4237-249 | 10
Size | Part # | Box Qty. | Quantity | 2" x 1-1/4" | 4237-250 | 10
1" x 1/2" | L4235-130 | 50 |  | 2" x 1-1/2" | 4237-251 | 10
Not intended to convey or dispense water for human consumption through drinking or cooking |  |  |  | 2-1/2" x 1-1/4" | 4237-290 | 10
Female Sprinkler Head Adapter w/Pos Ring (Soc x Brass FIPT) |  |  |  | 2-1/2" x 1-1/2" | 4237-291 | 10
Size | Part # | Box Qty. | Quantity | 2-1/2" x 2" | 4237-292 | 15
3/4" x 1/2" | R4235-101 | 50 |  | 3" x 2" | 4237-338 | 10
Not intended to convey or dispense water for human consumption through drinking or cooking |  |  |  | 3" x 2-1/2" | 4237-339 | 10
Female Sprinkler Head Adapter w/Pos Ring (Socket x SR FIPT) NSF Certified Lead-Free |  |  |  | Transition Bushing (IPS Spigot x CTS Socket) NSF Certified Lead-Free
Size | Part # | Box Qty. | Quantity | Size | Part # | Box Qty. | Quantity
3/4" x 1/2" | R4235-101SR | 25 |  | 3/4" x 1/2" | 4240-101 | 50
Female Adapter (Socket x SR FIPT ) NSF Certified Lead-Free |  |  |  | 1" x 1/2" | 4240-130 | 50
Size | Part # | Box Qty. | Quantity | Size | Part # | Box Qty. | Quantity
3/4" | 4235-007SR | 25 |  | 3/4" | 4247-007 | 25
1" | 4235-010SR | 25 |  | 1" | 4247-010 | 25
1-1/4" | 4235-012SR | 10 |  | 1-1/4" | 4247-012 | 10
FIPT With Elastomer Seal - Use NO Thread Sealant |  |  |  | 1-1/2" | 4247-015 | 10
Male Adapter (Brass MIPT x Socket) NSF Certified Lead-Free |  |  |  | 2" | 4247-020 | 10
Size | Part # | Box Qty. | Quantity | 2-1/2" | 4247-025 | 5
3/4" | 4236-007 | 40 |  | 3" | 4247-030 | 5
1" | 4236-010 | 10 |  | GripLoc™ CAP 175 psi @ 150° F (66°C)
1-1/4" | 4236-012 | 10
1-1/2" | 4236-015 | 10 |  | Size | Part # | Box Qty. | Quantity
2" | 4236-020 | 8 |  | 3/4" | GL4247-007 | 50
TorqueSafe™ Gasket Sealed Spigot Female Sprinkler Adapter (Spigotx Gasket FIPT ) |  |  |  | 1" | GL4247-010 | 50
Use NO Solvent Cement
Size | Part # | Box Qty. | Quantity | Test Plug - O-ring Sealed - For Pressure Testing Only DO NOT Use w/Gasket Sealed Fittings or Z4235 Adapters
3/4" x 1/2" | 4238-101 G | 50
1" x 1/2" | 4238-130 G | 50 |  | Size | Part # | Box Qty. | Quantity
FIPT With Elastomer Seal - Use NO Thread Sealant |  |  |  | 1/2" | FTP-005 | 50
Not intended to convey or dispense water for human consumption through drinking or cooking |  |  |  | DO NOT use with Tape or Paste thread sealants
SofTorque™Gasket Sealed Bushing (Bush Spigot x Gasket FIPT) NSF Certified Lead-Free |  |  |  | Test Plug Replacement O-ring (Buna-N, For FTP-005 Oring Sealed Test Plug Only)
Size | Part # | Box Qty. | Quantity | Size | Part # | Box Qty. | Quantity
1" x 1/2" | 4238-130GSR | 50 |  | 116 | B-116 | 100
SR FIPT With Elastomer Seal - Use NO Thread Sealant |  |  |  | Test Plug for TorqueSafe™ , QuickTorque™ & SofTorque™ Head Adapters - For Pressure Testing Only - Use ONLY with Gasket Sealed Adapter
TorqueSafe™ Bushing - (Bushing Spigot x Gasket FIPT)
Size | Part # | Box Qty. | Quantity
1" x 1/2" | 4238-130BR G | 50 |  | Size | Part # | Box Qty. | Quantity
FIPT With Elastomer Seal - Use NO Thread Sealant |  |  |  | 1/2" | FTP-005GS | 50
Not intended to convey or dispense water for human consumption through drinking or cooking |  |  |  | DO NOT use with Tape or Paste thread sealants
Bushing with Brass Thread Insert (Bush Spigot x Brass FIPT) |  |  |  | Test Plug - White PVC (Mipt) - For Pressure Test Only.
Size | Part # | Box Qty. | Quantity | Size | Part # | Box Qty. | Quantity
1" x 1/2" | 4238-130BR | 50 |  | 1/2" | 4250-005 | 50
Not intended to convey or dispense water for human consumption through drinking or cooking |  |  |  | Requires use of a thread sealant EXCEPT on Gasket Sealed Adapters
Spigot Female Sprinkler Head Adapter (Spigot x Brass FIPT) |  |  |  | Flange (Socket - 4 Bolt Holes - 175 lb.) NSF Certified Lead-Free
Size | Part # | Box Qty. | Quantity | Size | Part # | Box Qty. | Quantity
3/4" x 1/2" | 4238-101 | 50 |  | 3/4" | 4251-007 | 25
1" x 1/2" | 4238-130 | 50 |  | 1" | 4251-010 | 15
Not intended to convey or dispense water for human consumption through drinking or cooking |  |  |  | 1-1/4" | 4251-012 | 15
SofTorque™ Gasket SR Spigot Female Sprinkler Head Adapter (Socket x SR FIPT) NSF Certified Lead Free |  |  |  | 1-1/2" | 4251-015 | 15
|  |  |  | 2" | 4251-020 | 10
Size | Part # | Box Qty. | Quantity | 2-1/2" | 4251-025 | 10
3/4" x 1/2" | 4278-101GSR | 50 |  | Blind Flange (4 Bolt Holes - 175 lb.) NSF Certified Lead-Free
1" x 1/2" | 4278-130GSR | 50 |  | Size | Part # | Box Qty. | Quantity
SR FIPT With Elastomer Seal - Use NO Thread Sealant |  |  |  | 3/4" | 4253-007 | 25
Spigot Female Adapter (Spigot x Brass FIPT) |  |  |  | 1" | 4253-010 | 15
Size | Part # | Box Qty. | Quantity | 1-1/4" | 4253-012 | 15
3/4" | 4278-007 | 25 |  | 1-1/2" | 4253-015 | 15
1" | 4278-010 | 15 |  | 2" | 4253-020 | 10
Not intended to convey or dispense water for human consumption through drinking or cooking |  |  |  | 2-1/2" | 4253-025 | 10
Spigot Female Adapter (Spigot x SR FIPT) NSF Certified Lead-Free |  |  |  | 3" | 4253-030 | 10
Size | Part # | Box Qty. | Quantity | Flange - Van Stone Style (Socket) NSF Certified Lead-Free
3/4" | 4278-007SR | 25 |  | Size | Part # | Box Qty. | Quantity
1" | 4278-010SR | 50 |  | 3" | 4254-030 | 10
Replacement Gasket for all TorqueSafe™ Adapters Gasket Pack of 25 EPDM Gaskets For Use 1/2" or 3/4" Gasket Sealed Threads
Size | Part # | Box Qty. | Quantity
1/2" | RGSK-005 | 1
3/4" | RGSK-007 | 1
Flange-Van Stone Style (Spigot -4 Bolt Holes-175 lb) NSF Certified Lead-Free |  |  |  | Sprinkler Head Adapter Removal Kit - For 3/4" & 1" Pipe To remove Head Adapters without disturbing ceiling/wall
|  |  |  | Item | Part # | Box Qty. | Quantity
3/4" | 4256-007 | 25 |  | Complete Kit | SHRK-005 | 1
1" | 4256-010 | 15 |  | Inside Cutter ONLY | GSC-005 | 1
1-1/4" | 4256-012 | 15 |  | Wrench ONLY | GSW-005 | 1
1-1/2" | 4256-015 | 15 |  | DeburTool ONLY | GSB-005 | 1
2" | 4256-020 | 10
2-1/2" | 4256-025 | 10
3" | 4256-030 | 10
Union (Socket ) - 175 psi @ 150°F(66°C) NSF Certified Lead-Free
Size | Part # | Box Qty. | Quantity
3/4" | 4257-007 | 10
1" | 4257-010 | 10
1-1/4" | 4257-012 | 5
1-1/2" | 4257-015 | 5
2" | 4257-020 | 5
Transition Union (Socket x Brass FIPT) - 175 psi @ 150°F(66°C)
Size | Part # | Box Qty. | Quantity
1" | 4259-010BR | 10
1-1/4" | 4259-012BR | 5
1-1/2" | 4259-015BR | 5
2" | 4259-020BR | 5
Not intended to convey or dispense water for human consumption through drinking or cooking
Short Repair Couplings (Spigot x Socket) 175 psi @ 150°F (66°C) NSF Certified Lead-Free
Size | Part # | Box Qty. | Quantity
3/4" | SH118-07CO | 30
1" | SH118-10CO | 35
GripLoc™ Repair Couplings - EPDM Gasket 175 psi @ 150°F (66°C) NSF Certified Lead-Free
Size | Part # | Box Qty. | Quantity
3/4" | SG118-07CO | 0
1" | SG118-10CO | 25
Use NO Solvent Cement
Accessories
Blue 75™ Thread Sealant NSF Certified Lead-Free |  |  |  | Dauber
Size | Part # | Box Qty. | Quantity | Size | Part # | Box Qty. | Quantity
1/4 Pint | SB75-005 | 24 |  | 3/4" for Pint | DP-75 | 50
1/2 Pint | SB75-010 | 24 |  | 1-1/4" for Pint | DP-125 | 50
Pint | SB75-020 | 12 |  | 1-1/4" for Quart | DQ-125 | 50
Quart | SB75-030 | 12 |  | 3/4" Diameter fits Pint Cans, for pipe size 3/4"
FS5 One-Step Cement NSF Certified Lead-Free |  |  |  | 1-1/4" Diameter fits Pint Cans, for pipe size 1-1/2"
Size | Part # | Box Qty. | Quantity | 1-1/4" Diameter fits Quart Cans, for pipe size 1-1/2"
Pint | FS5-020 | 12 |  | Can-Mate Dauber
Quart | FS5-030 | 12 |  | Size | Part # | Box Qty. | Quantity
Empty Can |  |  |  | 3/4" | CM-75 | 50
Size | Part # | Box Qty. | Quantity | 1-1/2" | CM-150 | 50
Pint * | MT-654 | 192 |  | 3/4" Diameter fits Pint or Quart Cans, for pipe sizes 3/4" - 1-1/4"
Quart* | MT-651 | 100 |  | 1-1/4" Diameter fits Pint or Quart Cans, for pipe sizes 1-1/2" - 3"
Quart (paint type) | MT-653 | 12 |  | Deburing Tool - Cone Type for FlameGuard® Pipe 3/4" - 2"
* = 1-1/4" Screw Neck |  |  |  | Size | Part # | Box Qty. | Quantity
Brush |  |  |  | 1/2" to 2" Pipe | DEB-2 | 1
Size | Part # | Box Qty. | Quantity
4-1/2" Length | KD-110 | 25
5-1/2" Length | KD-112 | 25
1" Brush w/1-3/4" Screw Cap, for pipe size 3/4" - 2"
Roller - Fits Small (1-3/4") Cap Cans
Size | Part # | Box Qty. | Quantity
4" Length | 6020 | 20
For use with pipe sizes 3"
Replacement Roller Cover - Sold as Pack of 2, full pack only.
Size | Part # | Box Qty. | Quantity
4" | 5520-1 | 75
Fits 6020 Roller
FlameGuard® CPVC Drain & Check Valves For NFPA 13D Applications Only
FlameGuard® CPVC Orange Check Valves and PVC/CPVC True Union Drain Valves are for use in configuring CPVC Fire Sprinkler System connection to water supply (riser/drain assembly) in NFPA 13D installations only. These valves are not UL Listed and NOT for use in any other locations within the fire sprinkler system. Valves are NSF Certified Lead-Free
True Union Industrial Drain Valve With Locking Handle (Socket) CPVC Gray Valve with, CPVC Orange End Connector |  |  |  | Compact 2000 Drain Valve (Socket)
Size | Part # | Box Qty. | Quantity | Size | Part # | Box Qty. | Quantity
3/4" | 1822-007CFG | 1 |  | 3/4" | 6622-007CO | 10
1" | 1822-010CFG | 1 |  | 1" | 6622-010CO | 10
1-1/4" | 1822-012CFG | 1 |  | Not UL Listed
1-1/2" | 1822-015CFG | 1 |  | CPVC Check Valve (Socket x Socket)
2" | 1822-020CFG | 1 |  | Size | Part # | Box Qty. | Quantity
Not UL Listed |  |  |  | 1" | S1520-10CO | 20
True Union Industrial Standard Drain Valves (Socket) PVC Gray Valve with CPVC Orange End Connectors |  |  |  | 1-1/4" | S1520-12CO | 12
|  |  |  | 1-1/2" | S1520-15CO | 12
Size | Part # | Box Qty. | Quantity | Not UL Listed
3/4" | 3622-007FG | 18 |  | CPVC Special Reinforced Check Valve (SR FIPTx Socket)
1" | 3622-010FG | 12 |  | Size | Part # | Box Qty. | Quantity
Not UL Listed |  |  |  | 1" | S1520-10FSRSCO | 20
|  |  |  | 1-1/4" | S1520-12FSRSCO | 12
|  |  |  | 1-1/2" | S1520-15FSRSCO | 12
Not UL Listed
Miscellaneous (enter Information)
Size | Part # | Box Qty. | Quantity | Size | Part # | Box Qty. | Quantity
Additional Instructions
|  |  |  | SOUTHEAST |  | NORTHEAST
Please contact your nearest Spears® Regional Distribution Center to submit your order. REV 01/07/2022 |  |  |  | 4205 Newpoint Pl., Suite 100 |  | 590 Industrial Dr., Suite 100
|  |  |  | Lawrenceville (Atlanta), GA 30043 |  | Lewisberry (Harrisburg), PA
PACIFIC SOUTHWEST |  | SOUTH CENTRAL |  | (678) 985-1263 • (800) 662-6326 |  | 17339-9532
15860 Olden St. |  | 1000 Lakeside Parkway |  | Fax (678) 985-5642 |  | (717) 938-8844 •
Sylmar (Los Angeles), CA 91342 |  | Flower Mound, TX 75028 |  |  |  | (800) 233-0275
(818) 364-1611 • (800) 862-1499 |  | (469) 528-3000 • (800) 441-1437 |  | Spears® |  | Fax (717) 938-6547
Fax (818) 367-3014 |  | Fax (469) 528-3001 |  | 4835 Sirona Dr., Suite 400
|  |  |  | Charlotte, NC 28273 |  | Spears®/Associated Marketing
Spears® |  | Spears® |  | (678) 985-1263 • (800) 662-6326 |  | 11500 Roosevelt Blvd.
555 Zephyr St |  | 7330 Langfield Rd. |  | Fax (678) 985-5642 |  | Building G, Unit 1
Stockton, CA 95206 |  | Bldg 300 Suite 100 |  |  |  | Philadelphia, PA 19116
(818) 364-1611 • (800) 862-1499 |  | Houston, TX 77092 |  |  |  | (717) 938-8844 •
Fax (818) 367-3014 |  | (469) 528-3000 • (800) 441-1437 |  | FLORIDA |  | (800) 233-0275
|  | Fax (469) 528-3001 |  | 9563 Parksouth Ct. |  | Fax (717) 938-6547
Orlando, FL 32837
NORTHWEST |  | MIDWEST |  | (407) 843-1960 • (800) 327-6390 |  | Spears®
4103 “C” St. NE Suite 200 |  | 1 Gateway Ct., Suite A |  | Fax (407) 425-3563 |  | Cabot Business Park 7
Auburn (Seattle), WA 98002 |  | Bolingbrook (Chicago), IL 60440 |  |  |  | 11 Norfolk St.
(253) 939-4433 • (800) 347-7327 |  | (630) 759-7529 • (800) 662-6330 |  |  |  | Mansfield, MA 02048
Fax (253) 939-7557 |  | Fax (630) 759-7515 |  |  |  | (717) 938-8844 •
(800) 233-0275
ROCKY MOUNTAIN |  | Spears® |  |  |  | Fax (717) 938-6547
4880 Florence St. |  | 7001 Southside Dr
Denver, CO 80238 |  | Louisville, KY 40214 |  | INTERNATIONAL SALES
(303) 371-9430 • (800) 777-4154 |  | Call your nearest Spears® |  | 15853 Olden St.
Fax (303) 375-9546 |  | Distribution Center |  | Sylmar (Los Angeles), CA 91342
(818) 364-1611
UTAH |  |  |  | Fax (818) 898-3774
5395 West 1520 South
Salt Lake City, UT 84104
(303) 371-9430 • (800) 777-4154
Fax (303) 375-9546